STORMWATER MANAGEMENT ORDINANCE

ORDINANCE NUMBER

1403

BOROUGH OF GROVE CITY,

COUNTY OF MERCER,

COMMONWEALTH OF PENNSYLVANIA

Adopted at a Public Meeting Held on

July 18, 2011

Article I – General Provisions						1

Section 101 – Short Title							1

Section 102 – Statement of Findings					1

Section 103 – Purpose								2

Section 104 – Statutory Authority						3

Section 105 – Applicability							3

Section 106 – Repealer								3

Section 107 – Severability							3

Section 108 – Compatibility with Other Requirements			4

Section 109 – Obligation to Safeguard					4

Article II – Definitions							5

Section 201 – Definitions							5

Article III – Stormwater Management Standards		13

Section 301 – General Requirements					13

Section 302 – Exemptions							17

Section 303 – Volume Controls						18

Section 304 – Rate Controls							19

Section 305 – Calculation Methodology					19

Article IV – Stormwater Management Site

Plan Requirements					24

Section 401 – Small Project Application (< 5000 S.F.)		24

Section 402 – SWM Plan (> 5000 S.F.)					25

Section 403	 – Plan Submission						27

Section 404 – Plan Review							27

Section 405 – Modification of Plans						28

Section 406	 – Resubmission of Disapproved SWM Site Plans	28

Section 407 – Authorization to Construct and Term of Validity	28

Section 408	 – As-Built Plans, Completion Certificate,

and Final Inspection					29

Article V – Riparian Buffers						30

Section 501 – Design Standards for Riparian Buffers			30

Section 502 – Extensions to Minimum Buffer Width			31

Section 503 – Buffer Management and Maintenance			32

Article VI – Operation and Maintenance Agreements		34

Section 601 – Responsibilities of Developers and

Landowners						34

Section 602 – Operation & Maintenance Agreements			34

Article VII – Fees & Expenses						36

Section 701 – General								36

Article VIII – Prohibitions							37

Section 801 – Prohibited Discharges					37

Section 802 – Authorized Discharges					37

Section 803 – Alterations of SWM BMP’s					38

Article IX – Enforcements & Penalties 				39

Section 901 – Right-of-entry							39

Section 902 – Inspection							39

Section 903 – Violations							39

Section 904 – Enforcement							40

Section 905 – Suspensions and Revocation				40

Section 906 – Penalties								41

Section 907 – Appeals								42

Appendix A	Small Projects Application				1-4

Appendix B	Operation & Maintenance Agreement		1-3

Appendix C	Review Fee Reimbursement Agreement	I-V

ARTICLE I - GENERAL PROVISIONS

SECTION 101 – Short Title

This Ordinance shall be known as and may be cited as the Borough of Grove City Stormwater Management Ordinance.”

SECTION 102 – Statement of Findings

The governing body of the Borough of Grove City finds that:

- Inadequate management of accelerated runoff of stormwater resulting from development throughout a watershed increases flows and velocities, contributes to erosion and sedimentation, overtaxes the carrying capacity of streams and storm sewers, greatly increases the cost of public facilities to carry and control stormwater, undermines flood plain management and flood control efforts in downstream communities, reduces groundwater recharge, threatens public health and safety, and increases non-point source pollution of water resources.

- A comprehensive program of stormwater management, including reasonable regulation of development and activities causing accelerated runoff, is fundamental to the public health, safety, and welfare and the protection of people of the Commonwealth, and this Borough, their resources, and the environment.

- Stormwater is an important water resource, which provides groundwater recharge for water supplies and base flow of streams, which also protects and maintains surface water quality.

- Federal and state regulations require certain municipalities to implement a program of stormwater controls. These municipalities are required to obtain a permit for stormwater discharges from their separate storm sewer systems under the National Pollutant Discharge Elimination System (NPDES).

- Public education is necessary for the proper understanding and implementation of stormwater management in the community in which it functions.

SECTION 103 – Purpose

The purpose of this Ordinance is to promote health, safety, and welfare within the Borough and its watershed by minimizing the harms and maximizing the benefits described in Section 102 (Statement of Findings) of this Ordinance, through provisions designed to:

- Meet legal water quality requirements under state law, including regulations at 25 Pa. Code Chapter 93 to protect, maintain, reclaim and restore the existing and designated uses of this Commonwealth.

- Manage the volume, rate and quality of stormwater runoff.

- Preserve the natural drainage systems as much as possible.

- Manage stormwater runoff as close to the source as possible.

- Provide procedures and performance standards for stormwater planning and management.

- Maintain groundwater recharge to prevent degradation of surface and groundwater quality and to otherwise protect water resources.

- Prevent scour and erosion of stream banks and streambeds from accelerated runoff.

- Provide proper operation and maintenance of all permanent SWM BMP’s that are implemented and constructed within the Borough.

- Provide standards to meet NPDES permit requirements.

- Integrate stormwater management into the land development site planning process.

SECTION 104 - Statutory Authority

- Primary Authority:

The Borough is empowered to regulate these activities by the authority of the Act of October 4, 1978, P.L. 864 (Act 167), 32 P.S. Section 680.1, et seq., as amended, the “Stormwater Management Act” and the Pennsylvania Borough Code.

- Secondary Authority:

The Borough also is empowered to regulate land use activities that affect runoff by the authority of the Act of July 31, 1968, P.L. 805, No. 247, The Pennsylvania Municipalities Planning Code, as amended.

SECTION 105 - Applicability

All regulated activities and all activities that may affect stormwater runoff, including land development and earth disturbing activities, are subject to regulation by this Ordinance.

For projects that add impervious area to a parcel, the total impervious area on the parcel is subject to the requirements of this Ordinance; except that the volume controls in Section 303 and the peak rate controls of Section 304 do not need to be retrofitted to existing impervious areas that are not being altered by proposed regulated activities.

SECTION 106 - Repealer

Any other ordinance provision(s) or regulation of the Borough inconsistent with any of the provisions of this Ordinance is hereby repealed to the extent of the inconsistency only.

SECTION 107 - Severability

In the event that a court of competent jurisdiction declares any section or provision of this Ordinance invalid, such decision shall not affect the validity of any of the remaining provisions of this Ordinance.

SECTION 108 - Compatibility with Other Requirements

Approvals issued and actions taken under this Ordinance do not relieve the Applicant of the responsibility to secure required permits or approvals for activities regulated by any other code, law, regulation, or ordinance.

SECTION 109 – Obligation to Safeguard

Notwithstanding any provision(s) of this Ordinance, including exemptions, any landowner or any person engaged in the alteration or development of land which may affect stormwater runoff characteristics shall implement such measures as are reasonably necessary to prevent injury to health, safety, or other property.  Such measures also shall include actions as are required to manage the rate, volume, direction, and quality of resulting stormwater runoff in a manner which otherwise adequately protects health, property, and water quality.

ARTICLE II - DEFINITIONS

SECTION 201- Definitions

For the purposes of this Ordinance, certain terms and words used herein shall be interpreted as follows:

- Words used in the present tense include the future tense; the singular number includes the plural, and the plural number includes the singular; words of masculine gender include feminine gender; and words of feminine gender include masculine gender.

- The word "includes" or "including" shall not limit the term to the specific example but is intended to extend its meaning to all other instances of like kind and character.

- The words "shall" and "must" are mandatory; the words "may" and "should" are permissive.

Agricultural Activity – Activities associated with agriculture such as agricultural cultivation, agricultural operation, and animal heavy use areas.  This includes the work of producing crops including tillage, land clearing, plowing, disking, harrowing, planting, harvesting crops, or pasturing and raising of livestock and installation of conservation measures. Construction of new buildings or impervious area is not considered an Agricultural Activity.

Applicant - A landowner, developer or agent of a property owner who has filed an application for approval to engage in any Regulated Activity at a project site in the Borough.

BMP (Best Management Practice) – Activities, facilities, designs, measures, or procedures used to manage stormwater impacts from regulated activities, to meet state water quality requirements, to promote groundwater recharge, and to otherwise meet the purposes of this Ordinance.  Permanent stormwater BMPs are commonly grouped into one of two broad categories or measures:  “structural” or “nonstructural.”  In this Ordinance, nonstructural BMPs or measures refer to operational and/or behavior-related practices that attempt to minimize the contact of pollutants with stormwater runoff whereas structural BMPs or measures are those that consist of a physical device or practice that is installed to capture and treat stormwater runoff.  Structural BMPs include, but are not limited to, a wide variety of practices and devices, from large-scaled retention ponds and constructed wetlands, to small-scale underground treatment systems, infiltration facilities, filter strips, low impact design, bioretention, wet ponds, permeable paving, grassed swales, riparian or forested buffers, sand filters, detention basins, and manufactured devices.  Structural permanent stormwater BMPs are permanent appurtenances to the project site.

Channel – A natural or artificial watercourse with a defined bed and banks that conveys continuously or periodically flowing water.

Conservation District - A conservation district, as defined in section 3(c) of the Conservation District Law (3 P. S. § 851(c)) that has the authority under a delegation agreement executed with DEP to administer and enforce all or a portion of the regulations promulgated under 25 Pa. Code 102.

Design Storm - The magnitude and temporal distribution of precipitation from a storm event measured in probability of occurrence (e.g. a 5-year storm) and duration (e.g. 24-hours), used in the design and evaluation of stormwater management systems.

Detention Volume - the volume of runoff that is captured and released into the Waters of the Commonwealth at a controlled rate.

DEP - The Pennsylvania Department of Environmental Protection.

Development Site (Site) - See Project Site.

Disconnected Impervious Area (DIA) – An impervious or impermeable surface that is disconnected from any stormwater drainage or conveyance system and is redirected or directed to a pervious area, which allows for infiltration, filtration, and increased time of concentration as specified in Appendix A.

Disturbed Area – An unstabilized land area where an earth disturbance activity is occurring or has occurred.

Earth Disturbance  Activity - A construction or other human activity which disturbs the surface of the land, including, but not limited to:  clearing and grubbing, grading, excavations, embankments, roadside maintenance, building construction and the moving, depositing, stockpiling, or storing of soil, rock or earth materials.

Easement – A legal right granted by a landowner to a grantee allowing the use of private land for conveyance or treatment of stormwater runoff and access to stormwater practices.

Erosion - The natural process by which the surface of the land is worn away by water, wind or chemical action.

Erosion and Sediment Control Plan (E & S Plan) - A plan that is designed to minimize the accelerated erosion and sediment runoff at a site during construction activities.

Existing Pre-Development Condition – The dominant land cover during the five (5) year period immediately preceding a proposed Regulated Activity.

Floodplain - Any land area susceptible to inundation by water from any natural source or delineated by applicable Federal Emergency Management Agency (FEMA) maps and studies as being a special flood hazard area. Also included are those soil groups found in Appendix 13 of the (1993) DER Technical Manual for Sewage Enforcement Officers , Soil Groups, Appendix A (as amended or replaced from time to time by PADEP).

Floodway - The channel of the watercourse and those portions of the adjoining floodplains that is reasonably required to carry and discharge the 100-year flood. Unless otherwise specified, the boundary of the floodway is as indicated on maps and flood insurance studies provided by FEMA. In an area where no FEMA maps or studies have defined the boundary of the 100-year floodway, it is assumed - absent evidence to the contrary - that the floodway extends from the stream to 50 feet from the top of the bank of the stream.

Forest Management / Timber Operations - Planning and activities necessary for the management of forestland. These include timber inventory and preparation of forest management plans, silvicultural treatment, logging road design and construction, timber harvesting, site preparation and reforestation.

Hydrologic Soil Group (HSG) - Infiltration rates of soils vary widely and are affected by subsurface permeability as well as surface intake rates. Soils are classified into four HSG’s (A, B, C, and D) according to their minimum infiltration rate, which is obtained for bare soil after prolonged wetting. The Natural Resources Conservation Service (NRCS) of the US Department of Agriculture defines the four groups and provides a list of most of the soils in the United States and their group classification. The soils in the area of the development site may be identified from a soil survey report that can be obtained from local NRCS offices or conservation district offices. Soils become less pervious as the HSG varies from A to D (NRCS 3,4).

Impervious Surface (Impervious Area) - A surface that prevents the infiltration of precipitation into the ground (e.g., building area/footprint, pavement, sidewalks, driveways, etc). Decks, gravel parking areas, gravel driveways, porous concrete, porous asphalt,  porous pavers, and green roofs are not counted as impervious areas if they do not prevent infiltration.

Infiltration - The entrance of surface water into the soil, usually at the soil/air interface.

Land Development (Development) – Inclusive of any or all of the following meanings: (i) the improvement of one lot or two or more contiguous lots, tracts, or parcels of land for any purpose involving (a) a group of two or more buildings, or (b) the division or allocation of land or space between or among two or more existing or prospective occupants by means of, or for the purpose of streets, common areas, leaseholds, condominiums, building groups, or other features; (ii) any subdivision of land; (iii) development in accordance with Section 503(1.1) of the PA Municipalities Planning Code.

MCCD – Mercer County Conservation District

Borough of Grove City, Mercer County, Pennsylvania.

Non-Structural Best Management Practices (BMP) – a combination of design and planning techniques that focus on preserving open space, protecting natural systems, and incorporating existing landscape features such as wetlands and stream corridors into a SWM site plan to manage stormwater at its source.

NPDES (National Pollutant Discharge Elimination System)  Stormwater Discharge Permit - A permit issued by the EPA, or by a State under authority delegated pursuant to 33 USC § 1342(b), that authorizes the discharge of pollutants to waters of the State, whether the permit is applicable on an individual, group, or general area-wide basis.

NRCS – USDA Natural Resources Conservation Service (previously SCS).

Optional – These are requirements that are recommended but may be modified or deleted at the discretion of the Borough.

Owner - The owner or owners of the freehold of the premises or lesser estate therein, a mortgagee or vendee in possession, assignee of rents, receiver, executor, trustee, lessee or other person, firm or corporation in control of a piece of land. As used herein, owner also refers to, in the appropriate context: (i) any other person authorized to act as the agent for the owner; (ii) any person who submits a stormwater management concept or design plan for approval or requests issuance of a permit, when required, authorizing land development to commence; and (iii) any person responsible for complying with an approved stormwater management design plan.

Peak Discharge - The maximum rate of stormwater runoff from a specific storm event.

Permanent Stormwater BMP - A stormwater (BMP) that will be operational after the construction phase of a project and that is designed to become a permanent part of the site for the purposes of managing stormwater runoff.

Pervious Area – Any area not defined as impervious.

Project Site - The specific area of land where any Regulated Activities in the Borough are planned, conducted or maintained.

Qualified Professional – Any person licensed by the Pennsylvania Department of State or otherwise qualified by law to perform the work required by the Ordinance.

Receiving Stream or Channel - A body of water or conveyance into which stormwater runoff is discharged.

Recharge - The replenishment of underground water reserves.

Redevelopment - A change to previously existing, improved property, including but not limited to the demolition or building of structures, filling, grading, paving, or excavating, but excluding ordinary maintenance activities, remodeling of buildings on the existing footprint, resurfacing of paved areas, and exterior changes or improvements that do not materially increase or concentrate stormwater runoff or cause additional non-point source pollution.

Regulated Activities – Any earth disturbing activities or any activities that involve the alteration or development of land in a manner that may affect stormwater runoff.

Regulated Earth Disturbance Activity – Activity involving earth disturbance subject to a regulation under 25 Pa. Code Chapter 92, 25 Pa. Code Chapter 102, or the Clean Streams Law.

Return Period – The recurrence interval, in years, which a storm event of a given magnitude has the probability of occurrence in any given year, i.e. the probability of a 2-year storm occurring in any one year is 0.5 (a 50% chance), the probability of a 10-year storm occurring in any one year is 0.1 (a 10% chance).  The probability of a 25-year storm occurring in any one year is 0.04 (a 4% chance) and the probability of a 100-year storm occurring in any one year is 0.01 (a 1% chance).

Responsible Party - Any individual, partnership, co-partnership, firm, company, corporation, association, joint stock company, trust, estate, governmental entity, or any other legal entity; or their legal representatives, agents, or assigns that is named on a stormwater maintenance agreement as responsible for long-term operation and maintenance of one or more permanent stormwater BMPs.

Riparian Buffer - An area of land at or near a stream bank, wetland, or water body that has intrinsic water quality value due to the ecological and biological processes it performs or is otherwise sensitive to changes which may result in significant degradation to water quality.

Runoff - Any part of precipitation that flows over the land.

Sediment- Soils or other materials transported by surface water as a product of erosion.

State Water Quality Requirements - The regulatory requirements to protect, maintain, reclaim, and restore water quality under Pennsylvania Code Title 25 and the Clean Streams Law.

Stormwater – Drainage runoff from the surface of the land resulting from precipitation or snow or ice melt.

Stormwater Management Facility - Any structure, natural or man-made, that are designed to reduce all of the following: stormwater runoff pollutant loads, discharge volumes, peak flow discharge rates and detrimental changes in stream temperature that affect water quality and habitat.

Stormwater Management Plan - The plan for managing storm water runoff adopted by the County of Mercer as required by the Act of October 4, 1978, P.L. 864, (Act 167), as amended, and known as the “Stormwater Management Act”.

Stormwater Management (SWM) BMP’s- Is abbreviated as SWM BMPs throughout this Ordinance.

Stormwater Management (SWM) Site Plan - The plan prepared by the Developer or his representative indicating how stormwater runoff associated with industrial, commercial, institutional, residential or other land uses will be managed at the development site in accordance with this Ordinance. Stormwater Management Site Plan will be designated as SWM Site Plan throughout this Ordinance.

Stream – A body of water with a current, confined within a bed and stream banks, less than sixty (60) feet in width, that is subject to inundation from overflow or flood water.  A stream may be referred to as a branch, brook, creek or run.

Structural Best Management Practices (BMP) – a constructed facility or measure that helps to protect receiving water quality and control stormwater runoff rate and volume.

Subdivision – As defined in The Pennsylvania Municipalities Planning Code, Act of July 31, 1968, P.L. 805, No. 247.

Watercourse - A permanent or intermittent stream or other body of water, either natural or man-made, which gathers or carries surface water.

Waters of this Commonwealth - Rivers, streams, creeks, rivulets, impoundments, ditches, watercourses, storm sewers, lakes, dammed water, wetlands, ponds, springs and other bodies or channels of conveyance of surface and underground water, or parts thereof, whether natural or artificial, within or on the boundaries of this Commonwealth.

Watershed - Region or area drained by a river, watercourse or other body of water, whether natural or artificial.

Wetland - Those areas that are inundated or saturated by surface or ground water at a frequency and duration sufficient to support, and that under normal circumstances do support, a prevalence of vegetation typically adapted for life in saturated soil conditions, including swamps, marshes, bogs, fens, and similar areas.

ARTICLE III – STORMWATER MANAGEMENT STANDARDS

SECTION 301 – General Requirements

- For all regulated activities, unless preparation of a SWM Site Plan is specifically exempted in Section 302 (Exemptions):

  - Design and implementation of an approved SWM Site Plan is required.

  - No regulated activities shall commence until the Borough of Grove City issues written approval of an SWM Site Plan, which demonstrates compliance with the requirements of this Ordinance.

- SWM Site Plan approved by the Borough of Grove City, in accordance with Section 407 (Authorization to Construct and the Term of Validity), shall be on site throughout the duration of the Regulated Activity.

- The Borough of Grove City may, after consultation with DEP, approve measures for meeting the state water quality requirements other than those in this Ordinance, provided that they meet the minimum requirements of, and do not conflict with, state law including, but not limited to, the Clean Streams Law.

- For all regulated earth disturbance activities, erosion and sediment control BMPs shall be designed, implemented, operated, and maintained during the regulated earth disturbance activities (e.g., during construction) to meet the purposes and requirements of this Ordinance and to meet all requirements under Title 25 of the Pennsylvania Code and the Clean Streams Law.  Various BMPs and their design standards are listed in the Erosion and Sediment Pollution Control Manual (E&S Manual), No. 363-2134-008 (April 15, 2000), as amended and updated.

- For all regulated activities, implementation of the volume controls in Section 303 (Volume Controls) is required.

- Impervious areas:

  - The measurement of impervious areas shall include all of the impervious areas in the total proposed development even if development is to take place in stages.

  - For development taking place in stages, the entire development plan must be used in determining conformance with this Ordinance.

- Stormwater flow onto adjacent property shall not be created, increased, decreased, relocated, or otherwise altered without a written agreement from the adjacent property owner(s).  Such stormwater flows shall be subject to the requirements of this Ordinance.

- All regulated activities shall include such measures, to the maximum extent practicable, to:

  - Protect health, safety, and property and the public welfare.

  - Meet the water quality goals of this Ordinance by implementing measures to:

a.	Minimize disturbance to floodplains, wetlands, and wooded areas.

- Maintain or extend riparian buffers.

- Maintain natural drainage patterns.

- Avoid erosive flow conditions in natural flow.

pathways.

- Minimize the creation of impervious surfaces.

- Minimize thermal impacts to waters of this

Commonwealth.

g.	Disconnect impervious surfaces by directing runoff to

pervious areas, wherever possible.

3. Incorporate the techniques for Low Impact Development

Practices.

- Discharge roof drains and sump pumps to infiltration or vegetative BMPs or satisfy the criteria for DIAs..

- Infiltration BMPs should be spread out, made as shallow as practicable, and located to maximize use of natural on-site infiltration features while still meeting the other requirements of this Ordinance.

- Stormwater storage facilities should completely drain both the volume control and rate control capacities over a period of time not less than 24 hours and not more than 72 hours from the end of the design storm.

- The design storm volumes to be used in the analysis of peak rates of discharge will be the 24-hour values as shown in the following table:

| STORM FREQUENCY | 24-Hour depth in INCHES |
| --- | --- |
| 2 - year | 2.45 |
| 10 - year | 3.44 |
| 25 - year | 4.07 |
| 100 - year | 5.13 |

Or the 24-hour values obtained from the Precipitation-Frequency Atlas of the United States, Atlas 14, Volume 2, Version 3.0, U.S. Department of Commerce, National Oceanic and Atmospheric Administration (NOAA), National Weather service, Hydrometeorological Design Studies Center, Silver Spring, Maryland. NOAA’s Atlas 14 can be accessed at: http://hdsc.nws.noaa.gov/hdsc/pfds/

- For all regulated activities, SWM BMPs shall be designed, implemented, operated, and maintained to meet the purposes and requirements of this Ordinance and to meet all requirements under Title 25 of the Pennsylvania Code, the Clean Streams Law, and the Storm Water Management Act.

- Various BMP’s and their design standards are listed in the BMP Manual.

- Offsite areas which drain through a proposed development site are not subject to release rate criteria when determining allowable peak runoff rates. However, on-site drainage facilities shall be designed to safely convey off-site flows through the development site.

- Any stormwater management facility designed to store stormwater runoff and not eligible for a waiver from permit requirements pursuant to 25 Pa Code §105.12 requiring a berm or earthen embankment shall be designed to provide an emergency spillway to handle flow up to and including the 100-year post-development conditions. The height of embankment must be a minimum 1-foot above the maximum pool elevation computed when the facility functions for the 100-year post-development inflow.

- Any facilities that constitute water obstructions (e.g., culverts, bridges, outfalls, or stream enclosures), and any work involving wetlands pursuant to 25 Pa Code Chapter 105 regulations, as amended or replaced, shall be designed, permitted, and constructed in accordance with Chapter 105.

- Any drainage conveyance facility and/or channel that does not fall under Chapter 105 Regulations, must be able to convey, without damage to the drainage structure or roadway, runoff from the 25-year design storm. Conveyance facilities discharging to or exiting from stormwater management facilities shall be designed to convey the design flow to or from that structure.

- Storm sewers must be able to convey post-development runoff from a 10-year storm event without surcharging inlets, where appropriate.

- Adequate erosion protection shall be provided along all open channels, and at all points of discharge.

- The design of all stormwater management facilities shall incorporate sound engineering principles and practices and shall not result in the creation or continuation of adverse hydrologic or adverse hydraulic conditions within the watershed.

SECTION 302 – Exemptions

- Regulated activities that create impervious areas smaller than 2,500 square feet are exempt from the Peak Rate Control and Stormwater Management Site Plan requirements of this Ordinance unless the Borough of Grove City disqualifies the project for an exemption pursuant to Section 302.G.

- Regulated activities that create impervious areas of 2,500 square feet to 5,000 square feet require a Small Project Application to be submitted to the Borough and volume controls must be installed to meet the requirements of the BMP manual, or meet the requirements for the Disconnected Impervious Area (DIA) Credits in Section 401 (Small Project Application).

- Agricultural activity is exempt from this rate control and SWM Site Plan preparation requirements of this Ordinance provided the activities are performed according to the requirements of 25 Pa. Code 102.

- Forest management and timber operations are exempt from the rate control and the SWM Site Plan preparation requirements of this Ordinance provided the activities are performed according to the requirements of 25 Pa. Code, Chapter 102.

- Oil and gas operations are exempt from the rate control and SWM Site Plan preparation requirements of this Ordinance provided the activities are performed according to the requirements of 25 Pa. Code, Chapter 102.

- Exemptions from any provisions of this Ordinance shall not relieve the applicant from the requirements in Section 301 (General Requirements), Items D. through U.

- The Borough may deny or revoke any exemption pursuant to this Section at any time for any project that the Borough believes may pose a threat to public health, safety, property or the environment.

SECTION 303 – Volume Controls

The Low Impact Development practices, like those provided in the BMP Manual shall be utilized for all regulated activities to the maximum extent practicable.  Water volume controls shall be implemented using the Design Storm Method in Subsection A or the Simplified Method in Subsection B.  For regulated activity areas equal or less than 1 acre that do not require hydrologic routing to design the stormwater facilities, this Ordinance establishes no preference for either methodology; therefore, the applicant may select either methodology on the basis of economic considerations, the intrinsic limitations on applicability of the analytical procedures associated with each methodology, and other factors.

- The Design Storm Method (CG-1 in the BMP Manual) is applicable to any size of regulated activity.  This method requires detailed modeling based on site conditions.

  - Do not increase the post-development total runoff volume for all storms equal to or less than the 2-year 24-hour duration precipitation.

  - For hydrologic modeling purposes:

    - Existing pre-development non-forested pervious areas must be considered meadow or its equivalent in good condition.

    - Existing (pre-development) impervious areas, when present, must consider twenty (20) percent of the impervious area as meadow in good condition.

- The Simplified Method (CG-2 in the BMP Manual) is independent of site conditions and should be used if the Design Storm Method is not followed.  This method is not applicable to regulated activities greater than one (1) acre or for projects that require design of stormwater storage facilities.  For new impervious surfaces:

  - Stormwater facilities shall capture at least the first two inches (2”) of runoff from all new impervious surfaces.

  - At least the first one inch (1”) of runoff from new impervious surfaces shall be permanently removed from the runoff flow, i.e., it shall not be release into the surface waters of this Commonwealth.  Removal options include reuse, evaporation, transpiration, and infiltration.

  - Wherever possible, infiltration facilities should be designed to accommodate infiltration of the entire permanently removed runoff; however, in all cases at least the first one-half inch (0.5”) of the permanently removed runoff should be infiltrated.

  - This method is exempt from the requirements of Section 304 (Rate Controls).

SECTION 304 – Rate Controls

Post-development peak discharge rates shall not exceed the pre-development peak discharge rates for the, 2-year, 10-year, 25-year,  and 100-year storm events.

SECTION 305 – Calculation Methodology

Stormwater runoff from all development sites shall be calculated using either the Rational Method (stormwater conveyance systems only) or a soil cover complex methodology as follows:

- Major and minor conveyance systems up to 20 acres may be designed using the Rational Method.  The Rational Method may also be used in sizing the minor conveyance systems for larger sites.  Any stormwater runoff calculations involving drainage areas greater than 20 acres, including on-site and off-site areas, shall use a generally accepted runoff hydrograph technique that is based on the NRCS Soil Cover Complex method.  Runoff hydrograph methods must be used for major drainage system designs for all systems with greater than 20 acres of drainage area and for design of all stormwater storage facilities.

- All calculations consistent with this Ordinance using the Soil Cover Complex method shall use the appropriate design rainfall depths for the various return period storms presented Section 301 (General Requirements), Item L.  If a hydrologic computer model is used for stormwater runoff calculations, the duration of rainfall shall be 24 hours. The SCS Rainfall Type II curve shall be used for the rainfall distribution.

- For the purposes of existing pre-development runoff rate determination, undeveloped non-forested pervious areas including disturbed areas must be considered meadow in good condition, or its equivalent in good condition.  Those areas that have existing impervious areas within the planned development area may be included in the determination of the predevelopment flow rate.

- All calculations using the Rational Method shall use rainfall intensities from the Precipitation-Frequency Atlas of the United States, Atlas 14, Volume 2, Version 3.0, U.S. Department of Commerce, National Oceanic and Atmospheric Administration (NOAA), National Weather Service, Hydrometeorological Design Studies Center, Silver Spring, Mayrland.  NOAA’s Atlas 14 can be accessed at: http://hdsc.nws.noaa.gov/hdsc/pfds/.

- Times-of-concentration for overland flow shall be calculated using the methodology presented in Chapter 3 of Urban Hydrology for Small Watersheds, NRCS, TR-55. Travel time for channel and pipe flow shall be computed using velocities determined using Manning’s equation.

- Runoff Curve Numbers (CN) for both existing (pre-development) and proposed (post-development) conditions to be used in the Soil Cover Complex method shall be obtained from Chapter 2 of Urban Hydrology for Small Watersheds, NRCS, TR-55.

- Runoff coefficients (C) for both existing (pre-development) and proposed (post-development) conditions for use in the Rational method shall be:

| Runoff Factors for the Rational Equation |
| --- |
| TYPE OF DRAINAGE AREA OR SURFACE | RUNOFF FACTOR "C" |
|  | MINIMUM | MAXIMUM |
| Pavement, concrete or bituminous concrete | 0.75 | 0.95 |
| Pavement, bituminous macadam or surface-treated gravel | 0.65 | 0.80 |
| Pavement, gravel, macadam, etc. | 0.25 | 0.60 |
| Sandy soil, cultivated or light growth | 0.15 | 0.30 |
| Sandy soil, woods or heavy brush | 0.15 | 0.30 |
| Gravel, bare or light growth | 0.20 | 0.40 |
| Gravel, woods or heavy brush | 0.15 | 0.35 |
| Clay soil, bare or light growth | 0.35 | 0.75 |
| Clay soil, woods or heavy growth | 0.25 | 0.60 |
| City business sections | 0.60 | 0.80 |
| Dense residential sections | 0.50 | 0.70 |
| Suburban, normal residential areas | 0.35 | 0.60 |
| Rural areas, parks, golf courses | 0.15 | 0.30 |

| Runoff Coefficient for Rural Watersheds |
| --- |
|  | Slope |
|  | extreme | high | normal | low |
| Relief (Cr) | 0.28-0.35 steep, rugged terrain with average slopes above 30% | 0.20-0.28 hilly, with average slopes of 10-30% | 0.14-0.20 rolling, with average slopes of 5-10% | 0.08-0.14 relatively flat land, with average slopes of 0-5% |
| Soil Infiltration (Ci) | 0.12-0.16 no effective soil cover either rock or thin soil mangle of negligible infiltration capacity | 0.08-0.12 slow to take up water, clay or shallow loam soils of low infiltration capacity or poorly drained | 0.06-0.08 normal; well drained light or medium textured soils, sandy loams | 0.04-0.06 deep sand or other soil that takes up water readily, very light well drained soils |
| Vegetative Cover (Cv) | 0.12-0.16 no effective plant cover, bare or very sparse cover | 0.08-0.12 poor to fair; clean cultivation, crops or poor natural cover, less than 20% of drainage area over good cover | 0.06-0.08 fair to good; about 50% of area in good grassland or woodland, not more than 50% of area in cultivated crops | 0.04-0.06 good to excellent; about 90% of drainage area in good grassland, woodland, or equivalent cover |
| Surface (Cs) | 0.10-0.12 negligible; surface depression few and shallow; drainageways steep and small, no marshes | 0.08-0.10 well defined system of small drainageways; no ponds or marshes | 0.06-0.08 normal; considerable surface depression storage lakes and ponds and marshes | 0.04-0.06 much surface storage, drainage system not sharply defined; large flood plain storage or large number of ponds or marshes |
| The total runoff coefficient based on the four runoff components is: C = Cr + Ci + Cv + Cs |

as obtained from Pub. 584, PennDOT Drainage Manual, Sections 7.5.c thru 7.5.g.  Where uniform flow is anticipated, the Manning equation shall be used for hydraulic computations such as the capacity of open channels, pipes, and storm sewers. Values for Manning’s roughness coefficient (n) shall be consistent with Pub. 584, PennDOT Drainage Manual Section 7.3.

- Outlet structures for stormwater storage facilities shall be designed to meet the performance standards of this Ordinance using any generally accepted hydraulic analysis technique or method.  Orifices smaller than 3 inches diameter are not recommended; however, if the qualified professional can provide proof that the smaller orifices are protected from clogging by use of anti-clogging devices, then smaller orifices may be permitted.

- The design of any stormwater storage facilities intended to meet the performance standards of this Ordinance shall be verified by routing the design storm hydrograph through these facilities.

ARTICLE IV – STORMWATER MANAGEMENT SITE PLAN REQUIREMENTS

SECTION 401 – Small Project Application (< 5000 Sq. Ft. of Impervious Area)

This section applies to eligible projects with Total Impervious Surface Area from 1,000 square feet to less than 5,000 square feet.

If the Total Impervious Surface Area is 2,500 square feet to 5,000 square feet your project requires a Small Project Application to be submitted to the Borough of Grove City and volume controls must be installed to meet the requirements of the surface area of BMP’s required.

For areas where runoff from impervious areas can be directed to pervious areas that allow for infiltration, filtration, and increased time of concentration Disconnected Impervious Area (DIA) Credits may be used.  To qualify as DIA the concentrated discharge must meet the following criteria:

For Rooftop Areas:

  - area draining to a downspout must be 500 square feet or less,

  - discharge must be to an area with a positive slope of 5% (one foot of fall per twenty feet of length, 20:1) or less, and

  - be a minimum distance of 75-feet from a watercourse or down slope property line.

For Paved Areas (driveways):

1. runoff draining to a point must be 1,000 square feet of

less,

2. discharge must be to a gravel strip or spreading device,

and the

- flow length of the pervious surface must be greater than or equal to the contributing length.

SECTION 402 – SWM Plan (> 5000 Sq. Ft. of Impervious Area)

The following items shall be included in the SWM Site Plan:

- Appropriate sections from Borough of Grove City’s Subdivision and Land Development Ordinance, and other applicable local ordinances, shall be followed in preparing the SWM Site Plans.  In instances where the Borough lacks Subdivision and Land Development regulations, the content of SWM Site Plans shall follow the county’s Subdivision and Land Development Ordinance.

- The developer shall not receive approval of any SWM Site Plan that is deficient in meeting the requirements of this Ordinance.  When a SWM Site Plan is found to be deficient, the Borough, at its sole discretion and in accordance with this Article, may either disapprove the submission, require a resubmission, or in the case of minor deficiencies, the Borough may accept submission of modifications.

- Provisions for permanent access or maintenance easements for all physical SWM BMPS, such as ponds and infiltration structures, as necessary to implement the operation and maintenance procedures discussed in Item E.14 below.

- The following signature block for the Borough:

“The Stormwater Management Site Plan shown hereon complies with all design standards and criteria of the Borough of Grove City Stormwater Management Ordinance No. 1403.”

______________________    _________________________

Date                                   Signature

- The SWM Site Plan shall be black and white and provide the following information, at a minimum:

  - Proposed name or identifying title of the project

  - Name and address of the landowner and/or

developer of the project

  - Plan date, date of the latest revision, north arrow,

graphic and written scale

  - Project location map overlaid on the title sheet

showing the project and the nearest intersecting

street

  - Tract boundaries showing bearings, distances, and

curve data

  - Existing and proposed contours at a vertical interval

of one (1) foot, unless steeper slopes do not permit the visual representation at this scale

  - Existing and proposed natural and/or artificial objects

thereon

  - Existing subsurface objects as required by Pa One

Call, as well as proposed subsurface objects

  - A determination of site conditions in accordance with

the BMP Manual.  A detailed site evaluation shall be

completed for projects proposed in areas of

carbonate geology or karst topography, and other

environmentally sensitive areas, such as brownfields.

  - A report containing stormwater runoff design

calculations, assumptions, criteria, methodology and

documentation used in the design to demonstrate

that the maximum practicable measures have been

taken to meet the requirements of this Ordinance,

including the recommendations and general

requirements in Section 301 (General Requirements).

  - A soil erosion and sediment control plan, where

applicable, as prepared for and submitted to the

approval authority.

  - Plan and profile drawings of all SWM BMPs, including

drainage structures and pipes.

  - A plan showing the locations of existing and

proposed on-lot wastewater facilities and water

supply wells.

  - Operation and maintenance procedures for all

existing and proposed physical stormwater

management facilities that shall address long-term

ownership and responsibilities for O&M.

SECTION 403 – Plan Submission

- 5 copies of the SWM Site Plan shall be submitted as follows:

  - 2  copies to Borough of Grove City

  - 1 copy to the municipal engineer (when applicable)

  - 1 copy to the County Conservation District (when applicable)

  - 1 copy to the County Planning Commission (when applicable)

- Additional copies shall be submitted as requested by Borough of Grove City or other regulatory authorities.

SECTION 404 – Plan Review

- The SWM Site Plan shall be reviewed by a qualified professional for the Borough of Grove City for consistency with the provisions of this Ordinance.  After review, the qualified professional shall provide a written recommendation for the Borough of Grove City to approve or disapprove the SWM Site Plan.  If it is recommended to disapprove the SWM Site Plan, the qualified professional shall state the reasons for the disapproval in writing.  The qualified professional also may recommend approval of the SWM Site Plan with conditions and, if so, shall provide the acceptable conditions for approval in writing.  The SWM Site Plan review and recommendations shall be completed within the time allowed by the Municipalities Planning Code for reviewing subdivision plans.

- The Borough of Grove City shall notify the applicant in writing within 30 days whether the SWM Site Plan is approved or disapproved.  If the SWM Site Plan involves a Subdivision and Land Development Plan, the notification period is 60 days.  If a longer notification period is provided by other statute, regulation, or ordinance, the applicant will be notified by the Borough of Grove City.  If the Borough of Grove City disapproves the SWM Site Plan, the Borough of Grove City shall cite the reasons for disapproval in writing.

SECTION 405 – Modification of Plans

A modification to a submitted SWM Site Plan that involves a change in SWM BMPs or techniques, or that involves the relocation or redesign of SWM BMPs, or that is necessary because the Borough of Grove City has determined that other conditions are not as stated on the SWM Site Plan, then the Borough of Grove City shall require a resubmission of the modified SWM Site Plan in accordance with this Article.

SECTION 406 – Resubmission of Disapproved SWM Site Plans

A disapproved SWM Site Plan may be resubmitted, with the revisions addressing the Borough of Grove City’s concerns, to the Borough of Grove City in accordance with this Article.  The applicable review fee must accompany a resubmission of a disapproved SWM Site Plan.

SECTION 407 – Authorization to Construction and Term of Validity

The Borough of Grove City’s approval of an SWM Site Plan authorizes the regulated activities contained in the SWM Site Plan for a maximum term of validity of 5 years following the date of approval.  The Borough of Grove City may specify a term of validity shorter than 5 years in the approval for any specific SWM Site Plan.  Terms of validity shall commence on the date the Borough of Grove City signs the approval for a SWM Site Plan.  If an approved SWM Site Plan is not completed according to Section 408 (As-Built Plans, Completion Certificate, and Final inspection) within the term of validity, then the Borough of Grove City may consider the SWM Site Plan disapproved and may revoke any and all permits.  SWM Site Plans that are considered disapproved by the Borough of Grove City shall be resubmitted in accordance with Section 405 (Resubmission of Disapproved SWM Plans) of this Ordinance.

SECTION 408 – As-Built Plans, Completion Certificate, and Final Inspection

- The developer shall be responsible for providing as-built plans of all SWM BMPs including in the approved SMW Site Plan.  The as-built plans and an explanation of any discrepancies with the construction plans shall be submitted to the Borough of Grove City.

- The as-built submission shall include a certification of completion signed by a qualified professional verifying that all permanent SWM BMPs have been constructed according to the approved plans and specifications.

- After receipt of the completion certification by the Borough of Grove City, the Borough of Grove City may conduct a final inspection.

ARTICLE V – Riparian Buffer Requirements

SECTION 501 - Design Standards for Riparian Buffers

- A riparian buffer for a stream shall consist of a forested strip of land extending along both sides of the stream and its adjacent wetlands or steep slopes. The riparian buffer width shall be adjusted to include contiguous sensitive areas, such as steep slopes and wetlands, where development or disturbance may adversely affect water quality, streams, wetlands, or other waterbodies.

- The riparian buffer shall begin at the edge of the stream bank of the active channel.

- The riparian buffer shall be composed of two distinct zones, with each zone having its own set of permitted and restricted uses

- Zone 1 - Streamside Zone

  - Protects the physical and ecological integrity of the stream ecosystem.

  - Begins at the edge of the stream bank of the active channel and extends 25 feet from the top of the bank plus any additional buffer width as specified in this section.

  - Allowable uses within this zone are highly restricted to:

    - Flood control structures

    - Utility right of ways

    - Footpaths

    - Road crossings, where permitted.

  - Streamside Zone contains undisturbed natural vegetation.

- Zone 2 - Outer Zone

  - Protects key components of the stream and provides distance between upland development and the Streamside Zone.

  - Begins at the outer edge of the Streamside Zone and extends 25 feet.

  - Allowable uses within the Outer Zone are restricted to:

    - Biking or hiking paths

    - Stormwater management facilities, with the approval of the Borough of Grove City

    - Recreational uses as approved by Borough of Grove City.

    - Removal of mature tree cover

SECTION 502 - Extensions to Minimum Buffer Width

- The required width for the Riparian Buffer totals 50 feet (Zone 1 = 25’, Zone 2 = 25’). This buffer shall be extended if wetlands or steep slopes are present.

  - Wetlands: When wetlands are present, the width of the Streamside Zone shall be adjusted so that the Zone 1 buffer will consist of the extent of the wetland plus 20-feet beyond the wetland edge.

  - Percent Slope: The riparian buffer width shall be modified if steep slopes are within close proximity to the stream and drain into the stream. The following extensions will be added to the standard 50’ Riparian Buffer in relation to the slope of the stream bank. The extensions are calculated as follows:

| Percent of Slope | Buffer Extension | Required Riparian Buffer Width | Adjusted Total Width |
| --- | --- | --- | --- |
| 15% - 17% | 10 feet | 50 feet | 60 feet |
| 18% - 20% | 30 feet | 50 feet | 80 feet |
| 21% - 23% | 50 feet | 50 feet | 100 feet |
| 24% - 25% | 60 feet | 50 feet | 110 feet |
| > 25% | 70 feet | 50 feet | 120 feet |

- Water Pollution Hazards: The following land uses and/or activities are designated as potential water pollution hazards, and must be set back from any stream or water body by the distance indicated below:

  - Storage of hazardous substances - (150 feet)

  - Above ground or underground petroleum storage facilities – (150 feet)

  - Drain fields from onsite sewage disposal and treatment systems (i.e., septic systems) - (50 feet)

  - Raised septic systems - (50 feet)

  - Solid waste landfills or junkyards - (300 feet)

  - Confined animal feedlot operations - (250 feet)

  - Subsurface discharges from a wastewater treatment plant – (50 feet)

  - Land application of bio-solids - (100 feet)

SECTION 503 - Buffer Management and Maintenance

- The riparian buffer, including wetlands shall be managed to enhance and maximize the unique value of these resources. Management includes specific limitations on alteration of the natural conditions of these resources. The following practices and activities are restricted within both zones of the riparian buffer, except with approval by the Borough of Grove City:

  - Clearing of existing vegetation (except as noted previously in Section 501.E.3.d.)

  - Soil disturbance by grading, stripping, or other practices

  - Filling or dumping

  - Use, storage, or application of pesticides, except for spot spraying of noxious weeds or non-native species consistent with recommendations of the Borough of Grove City.

  - Housing, grazing, or other maintenance of livestock

  - Storage or operation of motorized vehicles within Zone 1, except for maintenance or emergency use.

  - Drainage by ditching, underdrains, or other systems.

- Practices, and activities that are permitted in the riparian buffer, with specific design or maintenance features, subject to the review of the Borough of Grove City:

  - Roads, bridges, paths, and utilities.

  - Stormwater management.

  - Stream restoration projects, facilities and activities approved by the Borough of Grove City are permitted within the riparian buffer.

  - Water quality monitoring and stream gauging are permitted within the riparian buffer.

  - Individual trees within the riparian buffer that are in danger of falling, causing damage to dwellings or other structures, or causing blockage of the stream may be removed.

- All plans prepared for recording and all right-of-way plans shall clearly:

  - Show the extent of any riparian buffer on the subject property

  - Label the riparian buffer

- All riparian buffer areas shall be maintained through a declaration of protective covenant, which is required to be submitted for approval by the Borough of Grove City. The covenant shall be recorded in the land records and shall run with the land and continue in perpetuity.

ARTICLE VI – OPERATION AND MAINTENANCE

SECTION 601 – Responsibilities of Developers and Landowners

- The Borough of Grove City shall make the final determination on the continuing maintenance responsibilities prior to final approval of the SWM Site Plan.  The Borough of Grove City may require a dedication of such facilities as part of the requirements for approval of the SWM Site Plan.  Such a requirement is not an indication that the Borough of Grove City will accept the facilities.  The Borough of Grove City reserves the right to accept or reject the ownership and operating responsibility for any portion of the stormwater management facilities.

- Facilities, areas, or structures used as SWM BMP’s shall be enumerated as permanent real estate appurtenances and recorded as deed restrictions or conservation easements that run with the land.

- The O&M Plan shall be recorded as a restrictive deed covenant that runs with the land.  The Borough of Grove City itself is exempt from the requirement to sign and record an O&M agreement.

- The responsible party named in the stormwater maintenance agreement shall maintain in good condition and promptly repair and restore all structural and non-structural permanent stormwater BMP’s and all necessary access routes and appurtenances.

- The Borough of Grove City may take enforcement actions against an owner for any failure to satisfy the provisions of this Article.

SECTION 602 – Operation and Maintenance Agreements

- Prior to final approval of the SWM Site Plan, The Property owner shall sign and record an Operation and Maintenance (O & M) Agreement (Appendix B) covering all stormwater control facilities which are to be privately owned.

  - The owner, successor and assigns shall maintain all facilities in accordance with the approved maintenance schedule in the O & M Plan.

  - The owner shall convey to the Borough of Grove City conservation easements to assure access for periodic inspections by the Borough of Grove City and maintenance as necessary.

  - The owner shall keep on file with the Borough of Grove City the name, address, and telephone number of the entity responsible for maintenance activities; in the event of a change, new information shall be submitted by the owner to the Borough of Grove City within ten (10) days of the change.

- The owner is responsible for O&M of the SWM BMPs.  If the owner fails to adhere to the O&M Agreement, the Borough of Grove City may perform the services required and charge the owner appropriate fees.  Nonpayment of fees may result in a lien against the property.

ARTICLE VII – FEES AND EXPENSES

SECTION 701 – General

The Borough of Grove City may charge to the applicant, all reasonable costs incurred in their review.

The review fee may include, but not limited to, costs for the following:

- Administrative and/or clerical processing.

- Review of the SWM Site Plan and associated documents by any duly authorized representatives of the Borough of Grove City.

- Attendance at public and/or municipal meetings relating to the enforcement of this ordinance.

- Inspection of stormwater management facilities.

ARTICLE VIII – PROHIBITIONS

SECTION 801 – Prohibited Discharges and Connections

- Any drain or conveyance, whether on the surface or subsurface, that allows a non-stormwater discharge including sewage, process waste  water, and waste water to enter the waters of this Commonwealth is prohibited.

- No persons shall allow, or cause to allow, discharges into surface waters of this Commonwealth which are not composed entirely of stormwater, except (1) as provided in Subsection A below and (2) discharges allowed under a state or federal permit.

SECTION 802 – Authorized Discharges

- The following discharges are authorized unless they are

determined to be significant contributors to pollution to the

waters of this Commonwealth:

  - Discharges from fire fighting activities

  - Flows from riparian habitats and wetlands

  - Potable water sources including waterline and fire hydrant flushing

  - Uncontaminated water from foundations or from     	footing drains

  - Irrigation drainage

  - Lawn watering

  - Air conditioning condensate

  - De-Chlorinated swimming pool discharges

  - Springs

  - Uncontaminated groundwater

  - Water from crawl space pumps

  - Water from individual residential car washing

  - Pavement wash waters where spills or leaks of toxic or hazardous materials have not occurred (unless all spill material has been removed) and where detergents are not used

  - Routine external building wash down (which does not

use detergents or other compounds)

15.	Discharge from diverted stream flows

- In the event that the Borough of Grove City or DEP determines that any of the discharges identified in Subsection A significantly contribute to pollution of the waters of this Commonwealth, the Borough of Grove City or DEP will notify the responsible person(s) to cease the discharge.

SECTION 803 – Alteration of SWM BMPs

No person shall modify, remove, fill, landscape, or alter any SWM BMPs, facilities, areas, or structures without the written approval of the Borough of Grove City.

ARTICLE IX – ENFORCEMENT AND PENALTIES

SECTION 901 – Right-of-Entry

Upon presentation of proper credentials, duly authorized representatives of the Borough of Grove City may enter at reasonable times upon any property within the Borough of Grove City to inspect the condition of the stormwater structure and facilities in regard to any aspect regulated by this Ordinance.

SECTION 902 – Inspection

SWM BMPs should be inspected by the landowner, or the owner’s designee (including the Borough of Grove City for dedicated and owned facilities), according to the following list of minimum frequencies:

- Annually for the first 5 years.

- Once every 3 years thereafter.

All inspections shall be documented in writing and shall document any maintenance and repair needs.

# SECTION 903 - Violations

- When the Borough of Grove City determines that an activity is not being carried out in accordance with the requirements of this Ordinance, it shall issue a written notice of violation to the owner of the property. The notice of violation shall contain:

  - The name and address of the owner or applicant.

  - The address when available or a description of the building, structure or land upon which the violation is occurring.

  - A statement specifying the nature of the violation and a time schedule for the completion of such remedial action.

  - A statement of the penalty or penalties that shall or may be assessed against the person to whom the notice of violation is directed.

  - A statement that the determination of violation may be appealed to the Borough of Grove City by filing a written notice of appeal within fifteen (15) days of service of notice of violation.

- Persons receiving a notice of violation will be required to halt all construction activities. This “stop work order” will be in effect until the Borough of Grove City confirms that the development activity is in compliance and the violation has been satisfactorily addressed.  Failure to address a notice of violation in a timely manner can result in civil, criminal, or monetary penalties in accordance with the enforcement measures authorized in this ordinance.

SECTION 904 – Enforcement

- It shall be unlawful for a person to undertake any regulated activity except as provided in an approved SWM Site Plan, unless specifically exempted in Section 302 (Exemptions).

- It shall be unlawful to violate Section 803 (Alterations of SWM BMP’s) of this Ordinance.

- Inspections regarding compliance with the SWM Site Plan are a responsibility of the Borough of Grove City.

SECTIOIN 905 – Suspension and Revocation

- Any approval or permit issued by the Borough of Grove City pursuant to this Ordinance may be suspended or revoked for:

  - Non-compliance with or failure to implement any provisions of the approved SWM Site Plan or O&M Agreement.

  - A violation of any provision of this ordinance or any other applicable law, ordinance, rule, or regulation relating to the regulated activity.

  - The creation of any condition or the commission of any act during the regulated activity which constitutes or creates a hazard, nuisance, pollution, or endangers the life or property of others.

- A suspended approval may be reinstated by the Borough of Grove City when:

  - The Borough of Grove City has inspected and approved the corrections to the violations that cause the suspension.

  - The Borough of Grove City is satisfied that the violation has been corrected.

- An approval that has been revoked by the Borough of Grove City cannot be reinstated.  The applicant may apply for a new approval under the provisions of this Ordinance.

- If a violation causes no immediate danger to life, public health, or property, at its sole discretion, the Borough of Grove City may provide a limited time period for the owner to correct the violation.  In these cases, the Borough of Grove City will provide the owner, or the owner’s designee, with a written notice of the violation and the time period allowed for the owner to correct the violation.  If the owner does not correct the violation within the allowed time period, the Borough of Grove City may revoke or suspend any, or all, applicable approvals and permits pertaining to any provision of this Ordinance.

SECTION 906 – Penalties

- Anyone violating the provisions of this Ordinance shall be guilty of a summary offense, and upon conviction, shall be subject to a fine of not less than $50 and not more than $300 for each violation, recoverable with costs.  Each day that the violation continues shall be a separate offense and penalties shall be cumulative.

- In addition, the Borough of Grove City may institute injunctive, mandamus, or any other appropriate action or proceeding of law or in equity for the enforcement of this Ordinance.  Any court of competent jurisdiction shall have the right to issue restraining orders, temporary or permanent injunctions, mandamus, or other appropriate forms of remedy or relief.

SECTION  907 – Appeals

- Any person aggrieved by any action of the Borough of Grove City or its designee, relevant to the provisions of this Ordinance, may appeal to the Borough of Grove City within 30 days of that action.

- Any person aggrieved by any decision of the Borough of Grove City, relevant to the provisions of this Ordinance, may appeal to the County Court of Common Pleas in the county where the activity has taken place within 30 days of the Borough of Grove City’s decision.

SECTION 908 - Any provision of any Ordinance inconsistent herewith is hereby repealed.

THE BOROUGH OF GROVE CITY ORDAINS AND ENACTS AND IT IS HEREBY ORDAINED AND ENACTED INTO LAW BY THE GROVE CITY BOROUGH COUNCIL THIS 18TH DAY OF JULY, 2011.

## ATTEST:						GROVE CITY BOROUGH

Paris L. Weiland					George A. Pokrant, President

Borough Secretary					Grove City Borough Council

This Ordinance is approved this 18TH day of July, 2011.

Randy L. Riddle, Mayor

Grove City Borough

APPENDIX A

INSTRUCTIONS FOR COMPLETING THE SMALL PROJECT APPLICATION

The Small Projects Application was designed to assist individuals constructing improvements of impervious surfaces (surfaces that do not infiltrate water, i.e. rooftops driveways, sidewalks, etc.) a method for determining if control measures are required to be implemented to comply with the SWM Ordinance.

Step 1:	Determine the length (in feet) and width (in feet) of the proposed improvement and insert into the “Length” and “Width” columns under the respective “Surface Type.”  If the “Surface Type” is not listed use “Other” and list the improvement type.   Irregular surfaces will require additional mathematical equations not listed in the application or the examples.

Step 2:	Multiply the length times the width and insert that number into the “Impervious Area (ft2)” column.  This number will be in square feet.

Step 3:	Add the numbers in the “Impervious Area (ft2)” column and insert the total number of square feet in the “TOTAL IMPERVIOUS AREA” box.

Step 4:	If the “TOTAL IMPERVIOUS AREA” is:

2,500 square feet or less your project is exempt and you can proceed with construction as planned (see Example #1),

2,500 square feet to 5,000 square feet you are required to submit the application to the Borough of Grove City, along with details on how you will manage the increase in runoff (implement volume controls) (see Example #2)

5,000 square feet or more your project requires a SWM Plan prepared by a Pennsylvania Registered Design Professional experienced in the design of such control measures and to the requirements of the Stormwater Management Ordinance.

Step 5:	If credit will be taken for DIA (Disconnected Impervious Area), list the “Qualifying Surfaces” obtain the square footage of the impervious area by multiplying the length times the width (see Example #2).

Step 6:	Subtract the  “DIA CREDITS” from the “TOTAL IMPERVIOUS AREA” and insert this number in the “TOTAL AREA TO BE MANAGED BY BMP’S” box.

Step 7:	Multiply the number in the “TOTAL AREA TO BE MANAGED BY BMP’S” box by 0.20 (20 %) and insert that number into the “SURFACE AREA OF BMP’S (ft2) ” box.  This number will be in square feet.

PLEASE USE WORKSHEET ON FOLLOWING PAGE

SMALL PROJECT APPLICATION SWM PLAN WORKSHEET

| Surface Type-Description | Length | x | Width | = | Impervious Area (ft²) |
| --- | --- | --- | --- | --- | --- |
| Building |  | x |  | = |  |
|  |  | x |  | = |  |
| Garage |  | x |  | = |  |
|  |  | x |  | = |  |
| Driveway |  | x |  | = |  |
|  |  | x |  | = |  |
| Other Parking Areas |  | x |  | = |  |
|  |  | x |  | = |  |
| Patios or Sidewalks |  | x |  | = |  |
|  |  | x |  | = |  |
| Other |  | x |  | = |  |
| "TOTAL IMPERVIOUS AREA" | = |  |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet or less your project is exempt. |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet to 5,000 Square Feet your project |
| requires this Small Project Application be submitted to the Borough of Grove City and Volume Controls |
| must be installed to meet the requirements of the "SURFACE AREA OF BMP's REQUIRED." |
| If the "TOTAL IMPERVIOUS AREA" is greater than 5,000 Square Feet your project requires a |
| Stormwater Management Plan prepared by a Pennsylvania Registered Design Professional |
| experienced in the design of such control measures and to the requirements of the |
| Stormwater Management Ordinance. |  |  |  |  |
| REQUIREMENTS FOR USE OF Disconnected Impervious Area (DIA) CREDITS |
| 1. Rooftop area draining to a downspout must be 500 sq. ft. or less, 2. Discharge must be to an area with positive slope of 5% (one foot of fall per twenty feet of length, 20:1) or less, and a 3. Minimum distance of 75-feet from a watercourse or down slope property line. | 1. Paved area (drives) draining to a point must be 1000 sq. ft. or less, 2. Discharge must be to a gravel strip or spreading device, and the 3. Flow length of the pervious surface must be greater than or equal to the contributing length. |
| DIA CREDITS TO BE SUBTRACTED FROM "TOTAL IMPERVIOUS AREA" |
| Qualifying Surfaces | Length | x | Width | = |  |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
| TOTAL AREA TO BE MANAGED BY BMP'S | = |  |
| 20% CONVERSION TO BMP | x | 0.20 |
| "SURFACE AREA OF BMP'S REQUIRED" (ft2) | = |  |

SMALL PROJECT APPLICATION SWM PLAN WORKSHEET

EXAMPLE #1

| Surface Type-Description | Length | x | Width | = | Impervious Area (ft²) |
| --- | --- | --- | --- | --- | --- |
| Building |  | x |  | = |  |
|  |  | x |  | = |  |
| Garage | 30'-0" | x | 18'-0" | = | 540 |
|  |  | x |  | = |  |
| Driveway | 31'-0" | x | 10'-0" | = | 310 |
|  |  | x |  | = |  |
| Other Parking Areas |  | x |  | = |  |
|  |  | x |  | = |  |
| Patios or Sidewalks |  | x |  | = |  |
|  |  | x |  | = |  |
| Other |  | x |  | = |  |
|  |  | x |  | = |  |
| "TOTAL IMPERVIOUS AREA" | = | 850 |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet or less your project is exempt. |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet to 5,000 Square Feet your project |
| requires this Small Project Application be submitted to the Borough of Grove City and Volume Controls |
| must be installed to meet the requirements of the "SURFACE AREA OF BMP's REQUIRED." |
| If the "TOTAL IMPERVIOUS AREA" is greater than 5,000 Square Feet your project requires a |
| Stormwater Management Plan prepared by a Pennsylvania Registered Design Professional |
| experienced in the design of such control measures and to the requirements of the |
| Stormwater Management Ordinance. |  |  |  |  |
| REQUIREMENTS FOR USE OF Disconnected Impervious Area (DIA) CREDITS |
| 1. Rooftop area draining to a downspout must be 500 sq. ft. or less, 2. Discharge must be to an area with positive slope of 5% (one foot of fall per twenty feet of length, 20:1) or less, and a 3. Minimum distance of 75-feet from a watercourse or down slope property line. | 1. Paved area (drives) draining to a point must be 1000 sq. ft. or less, 2. Discharge must be to a gravel strip or spreading device, and the 3. Flow length of the pervious surface must be greater than or equal to the contributing length. |
| DIA CREDITS TO BE SUBTRACTED FROM "TOTAL IMPERVIOUS AREA" |
| Qualifying Surfaces | Length | x | Width | = |  |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
| TOTAL AREA TO BE MANAGED BY BMP'S | = | 0 |
| 20% CONVERSION TO BMP | x | 0.20 |
| "SURFACE AREA OF BMP'S REQUIRED" (ft2) | = | 0 |

SMALL PROJECT APPLICATION SWM PLAN WORKSHEET

EXAMPLE #2

| Surface Type-Description | Length | x | Width | = | Impervious Area (ft²) |
| --- | --- | --- | --- | --- | --- |
| Building (Barn) | 40'-0" | x | 30'-0" | = | 1,200 |
|  |  | x |  | = |  |
| Garage | 30'-0" | x | 25'-0" | = | 750 |
|  |  | x |  | = |  |
| Driveway | 41'-0" | x | 20'-0" | = | 820 |
|  |  | x |  | = |  |
| Other Parking Areas |  | x |  | = |  |
|  |  | x |  | = |  |
| Patios or Sidewalks |  | x |  | = |  |
|  |  | x |  | = |  |
| Other |  | x |  | = |  |
|  |  | x |  | = |  |
| "TOTAL IMPERVIOUS AREA" | = | 2,770 |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet or less your project is exempt. |
| If the "TOTAL IMPERVIOUS AREA" is 2,500 Square Feet to 5,000 Square Feet your project |
| requires this Small Project Application be submitted to the Borough of Grove City and Volume Controls |
| must be installed to meet the requirements of the "SURFACE AREA OF BMP's REQUIRED." |
| If the "TOTAL IMPERVIOUS AREA" is greater than 5,000 Square Feet your project requires a |
| Stormwater Management Plan prepared by a Pennsylvania Registered Design Professional |
| experienced in the design of such control measures and to the requirements of the |
| Stormwater Management Ordinance. |  |  |  |  |
| REQUIREMENTS FOR USE OF Disconnected Impervious Area (DIA) CREDITS |
| 1. Rooftop area draining to a downspout must be 500 sq. ft. or less, 2. Discharge must be to an area with positive slope of 5% (one foot of fall per twenty feet of length, 20:1) or less, and a 3. Minimum distance of 75-feet from a watercourse or down slope property line. | 1. Paved area (drives) draining to a point must be 1000 sq. ft. or less, 2. Discharge must be to a gravel strip or spreading device, and the 3. Flow length of the pervious surface must be greater than or equal to the contributing length. |
| DIA CREDITS TO BE SUBTRACTED FROM "TOTAL IMPERVIOUS AREA" |
| Qualifying Surfaces | Length | x | Width | = |  |
| Barn roof downspout #1 | 20'-0" | x | 15'-0" | = | -300 |
| Barn roof downspout #2 | 20'-0" | x | 15'-0" | = | -300 |
|  |  | x |  | = | - |
|  |  | x |  | = | - |
| TOTAL AREA TO BE MANAGED BY BMP'S | = | 2,170 |
| 20% CONVERSION TO BMP | x | 0.20 |
| "SURFACE AREA OF BMP'S REQUIRED" (ft2) | = | 434 |

APPENDIX B

OPERATION AND MAINTENANCE (O&M) AGREEMENT

STORMWATER MANAGEMENT BEST MANAGEMENT PRACTICES (SWM BMP’S)

THIS AGREEMENT, made and entered into this ________ day of  _____________________, 20___.  By and between _______________________________, (hereinafter “Landowner”),     and ____________________________,  (hereinafter “Borough of Grove City”), Mercer County, Pennsylvania,

WHEREAS, the Landowner is the owner of certain real property as recorded in Deed Book ______at Page ______, (hereinafter “Property”) of the Mercer County Records, Pennsylvania, and

WHEREAS, the Landowner is proceeding to build and develop the Property; and

WHEREAS, the SWM Site Plan approved by the Borough of Grove City (hereinafter “Plan”) for the property identified herein, which is attached hereto as Addendum A and made part hereof, as approved by the Borough of Grove City, provides for management of stormwater within the confines of the Property through the use of SWM BMP’s; and

WHEREAS, the Borough of Grove City, and the Landowner, his successors and assigns, agree that the health, safety, and welfare of the residents of the Borough of Grove City and the protection and maintenance of water quality require that on-site SWM BMP’s be constructed and maintained on the Property; and

WHEREAS, the Borough of Grove City requires, through the implementation of the SWM Site Plan, that SWM BMP’s as required by said Plan and the Municipal Stormwater Management Ordinance be constructed and adequately operated and maintained by the landowner , successors assigns.

NOW, THEREFORE, in consideration of the foregoing promises, the mutual covenants contained herein, and the following terms and conditions, the parties hereto agree as follows:

- The Landowner shall construct the SWM BMP’s in accordance with the plans and specifications identified in the SWM Site Plan.

- The Landowner shall operate and maintain the SWM BMP’s as shown on the Plan in good working order in accordance with the specific maintenance requirements of “Section 902 – Inspection” of the SWM Ordinance.

- The Landowner hereby grants permission to the Borough of Grove City, it’s authorized agents, and employees, to enter upon the property, at reasonable times and upon the presentation of proper credentials, to inspect the SWM BMP’s whenever necessary. Whenever possible, the Borough of Grove City shall notify the Landowner prior to entering the property.

- In the event the Landowner fails to operate and maintain the SWM BMP’s per paragraph 2, the Borough of Grove City or it’s representatives may enter upon the property and take whatever action is deemed necessary to maintain said SWM BMP’s. It is expressly understood and agreed that the Borough of Grove City is under no obligation to maintain or repair said facilities, and in no event shall this Agreement be construed to impose any such obligation on the Borough of Grove City.

- In the event the Borough of Grove City, pursuant to this Agreement, performs work of any nature, or expends any funds in performance of said work for labor, use of equipment, supplies, materials, and the like, the landowner shall reimburse the Borough of Grove City for all expenses (direct and indirect) incurred within ten (10) days of receipt of invoice from the Borough of Grove City.

- The intent and purpose of this Agreement is to ensure the proper maintenance of the on-site SWM BMP’s by the Landowner; provided , however, that this Agreement shall not be deemed to create or effect any additional liability of any party for damage alleged to result from or be caused by stormwater runoff.

- The Landowner, it’s executors, administrators, assigns, and other successors in interests, shall release the Borough of Grove City from all damages, accidents, causalities, occurrences or claims which might arise or be asserted against said employees and representatives from the construction, presence, existence, or maintenance of the SWM BMP’s  by the Landowner or Borough of Grove City.

- The Borough of Grove City may inspect the SWM BMP’s at a minimum of once every three years to ensure their continued functioning.

This Agreement shall be recorded at the Office of the Recorder of Deeds of Mercer County, Pennsylvania, and shall constitute a covenant running with the Property and/or equitable servitude, and shall be binding on the Landowner, his administrators, executors, assigns, heirs, and other successors in interests, in perpetuity.

ATTEST:

WITNESS the following signatures and seals:

(SEAL)					For the Borough of Grove City:

____________________________

ATTEST:					For the Landowner:

____________________________

____________________________ (City, Borough, Township)

County of _______________, State of ________________________

I, ________________________________ , a Notary Public in and for

the County and State aforesaid, whose commission expires on the

____ day of _________________, 20______ , do hereby certify that

______________________________________ whose name(s) is/are

signed to the foregoing Agreement bearing date of the ______ day of

________________, 20____, has acknowledged the same before me

in my said County and State.

GIVEN UNDER MY HAND THIS ____ day of ________________,20__.

NOTARY PUBLIC_______________________

(SEAL)

APPENDIX C

REVIEW FEE REIMBURSEMENT AGREEMENT

THIS AGREEMENT MUST BE COMPLETED AND SIGNED BY THE DEVELOPER/APPLICANT PRIOR TO SUBMISSION OF THE SUBDIVISION/LAND DEVELOPMENT APPLICATION AND PLANS, SKETCH PLANS, CONDITIONAL USE APPLICATIONS OR ANY OTHER SUBMISSION WHICH REQUIRES MUNICPAL CONSULTANT REVIEW.

REVIEW FEE REIMBERSEMENT AGREEMENT

THIS AGREEMENT, made and entered into this ____________ day of _________________________, 20___, by and between

____________________________________, (hereinafter the

“Landowner”), and

Borough of Grove City, Mercer County, Pennsylvania, (hereinafter “Borough of Grove City”);

WITNESSETH

WHEREAS, the Landowner is the owner of certain real property as recorded by deed in the land records of Mercer County, Pennsylvania, Deed Book ___________ at Page ______, (hereinafter “Property”).

WHEREAS, the Landowner is proceeding to build and develop the Property; and

WHEREAS, the Landowner has submitted a SWM Site Plan for review and approval by the Borough of Grove City (hereinafter referred to as the “Plan”) for the property identified herein; and

WHEREAS, the Developer has requested and/or required the Borough of Grove City approval and/or review of its proposed plans, and the Borough of Grove City is willing to authorize its professional consultants to review said Plan and/or proposal upon execution of this agreement, and upon deposit of an escrow account according to the current Fee Schedule.

NOW, THEREFORE, in consideration of the foregoing promises, the mutual covenants contained herein, and the following terms and conditions, the parties hereto agree as follows:

1. The Landowner and Borough of Grove City hereby authorize and direct the Borough of Grove City’s professional consultants, as defined at Section 107 of the Pennsylvania Municipalities Planning Code to review Landowner’s plans or proposals to use its property, and to make such recommendations and specifications as may be necessary with respect to such plans in accordance with all applicable Borough of Grove City ordinances, and State and Federal rules and regulations.

2. The Landowner and Borough of Grove City acknowledge that the Borough of Grove City will incur costs and fees relating to the review of Landowner’s plans by its professional consultants, and Landowner agrees to pay and/or reimburse the Borough of Grove City for such costs in accordance with this agreement.

3. The Landowner shall pay the professional consultant’s charges and fees for the following: (a) review of any and all Stormwater Management Plans, studies, or other correspondence relating to the Landowners submission; (b) attendance at any and all meetings relating to Landowner’s plan; (c) preparation of any reports, legal documents, or other correspondence relating to Landowner’s plan or proposal; and (d) administrative cost and incurred expenses relating to the administration of this agreement. It is understood by the execution of this agreement that the Landowner specifically accepts the Fee Schedule currently in effect in the Borough of Grove City.

4. The Landowner hereby agrees to deposit with the Borough of Grove City the sum of ______________ Dollars ($_____________), payable as cash in U.S. Dollars or check drawn on a Pennsylvania bank, as security for the payment of all costs and expenses, charges and fees as set forth in Paragraph 3 above, upon execution of this agreement, which shall be held in a non-interest bearing account by the Borough of Grove City. In the event that the above deposited escrow fund shall fall below fifty percent (50%) of the original deposit, the Landowner shall immediately, upon receipt of written notice from the Borough of Grove City or its agent(s), deposit sums with the Borough of Grove City necessary to replenish the account to its original balance. In the event that this is insufficient to pay current Borough of Grove City incurred expenses, Landowner agrees to pay the total amount currently due for Borough of Grove City incurred expenses without delay in addition to re-establishing the base escrow account balance. The Borough of Grove City will use its best efforts to advise the Landowner of the impending likelihood that its costs have exceeded the required escrow account sums as described above.

5. Landowner and Borough of Grove City agree that upon completion of the Borough of Grove City’s review of Landowner’s plan or proposal, all unused portions of the escrow account as described above shall be returned to the applicant upon written request to the Borough of Grove City.

6. Landowner and Borough of Grove City acknowledge that the Ordinance and appropriate fee schedules require Landowner to pay Borough of Grove City’s professional consultant fees relating to this plan or project, and in the even that Landowner fails to provide sufficient funds in the above-described revolving escrow account upon fifteen (15) days written notice to the Landowner or make the initial deposit payment described above within five (5) days of the date of this agreement, Landowner shall be in default of this agreement and in violation of the above Sections of Ordinance. In the event of Landowner’s default as described above, the Borough of Grove City may refuse to issue any permit or grant any approval necessary to further improve or develop the subject site until such time as the terms of this Agreement are strictly met by Landowner. Moreover, final approval or further review may be denied or delayed until such time as the terms of this agreement are strictly met by Landowner.

7. Landowner and the Borough of Grove City further agree that all fees or costs arising out of this Agreement shall be paid prior to the issuance of any permit, occupancy or otherwise, for the use, improvement or construction of the buildings as proposed on the Landowner’s plan. The

Landowner agrees and acknowledges that no permit, occupancy or otherwise, or recordable plans, shall be released by the Borough of Grove City until all outstanding professional consultant fees and costs are paid to the Borough of Grove City, and provided that the Landowner is not in default under this agreement.

8. The Landowner may at any time terminate all further obligations under this Agreement by giving fifteen (15) days written notice to the Borough of Grove City that it does not desire to proceed with the development as set forth on the plan and upon receipt of such written notice by the Landowner to the Borough of Grove City, the Landowner shall be liable to the Borough of Grove City for its costs and expenses incurred to the date and time of its receipt of the notice, plus the applicable administrative costs and expenses as outlined in Paragraph 3 above.

9. The Landowner and the Borough of Grove City further agree that the Borough of Grove City shall have the right and privilege to sue the Landowner or the property owner in court for reimbursement or to lien the property or both, in its sole discretion, for any expense in excess of the then current balance of funds on deposit with the Borough of Grove City in accordance with this agreement incurred by the Borough of Grove City by reason of any review, supervision and inspection of Landowner’s project by its

professionals including, but not limited to, the Borough of Grove City Engineer and Solicitor. The Borough of Grove City’s election of its remedies under this paragraph shall not constitute a waiver of any other remedies the Borough of Grove City may have.

10. The Landowner and the Borough of Grove City acknowledge that this agreement represents their full understanding as to the Borough of Grove City’s reimbursement for professional or consultant services.

11. This agreement shall be binding on and insure to the benefit of the successors and assigns of Landowner. The Borough of Grove City shall receive thirty (30) days advance written notice from Landowner of any proposed assignment of Landowner’s rights and responsibilities under this Agreement.

ATTEST:

WITNESS the following signatures and seals:

(SEAL)__________________________________ For the Borough of Grove City:

ATTEST: ________________________________For the Landowner:

__________________________________ (City, Borough, Township)

County of Mercer, Pennsylvania

I, _______________________________________, a Notary Public in

and for the County and State aforesaid, whose commission expires on

the __________ day of __________________, 20_____, do hereby

certify that ________________________________________ whose

name(s) is/are signed to the foregoing Agreement bearing date of the

___________ day of ___________________, 20_____, has

acknowledged the same before me in my said County and State.

GIVEN UNDER MY HAND THIS _____________ day of

_______________, 20_______.

NOTARY PUBLIC _________________________

(SEAL)